## Sub6 n1
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n1 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 1
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n1 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 1
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n3
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n3 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 3
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n3 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 3
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n5
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n5 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 5
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n5 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 5
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n7
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n7 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 7
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n7 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 7
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n8
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n8 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 8
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n8 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 8
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n20
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n20 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 20
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n20 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 20
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n26
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n26 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 26
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n26 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 26
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n28
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n28 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 28
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n28 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 28
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n38
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n38 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 38
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n38 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 38
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n40
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n40 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 40
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n40 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 40
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n41
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n41 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 41
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n41 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 3G |  |  |  |  | 1 - 3G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
3 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 3 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 41
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n71
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 12.75GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR NSA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n71 | [6 empty] | 15
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 71
|  |  |  | H | [8 empty] | 2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR SA
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n71 | [6 empty] | 15
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 12.75G - 2nd, 3rd, 4th, 5th |  |  |  |  | 1 - 12.75G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 71
2. SCS : 15 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 12.75G |  |  |  |  | 1 - 12.75G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n77
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 18GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n77 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 77
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n77 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 77
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n78
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 18GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n78 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 78
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n78 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 78
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H

## Sub6 n79
TEST DATE |  |  |  | Test Range |  | 30 MHz - 1 GHz / Limit : -36dBm / RBW : 100kHz
시험원 | [5 empty] | 1 - 18GHz / Limit : -30dBm / RBW : 1MHz
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n79 | [6 empty] | 30
NSA TRAFFIC MODE |  |  |  |  | NSA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
|  |  |  | H | [8 empty] | Note
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 1. Sub6 NR Band : 79
|  |  |  | H | [8 empty] | 2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. NSA Mode Test.
NSA IDLE MODE |  |  |  |  | NSA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H
Sub6 NR
Band | Anchor (NSA only) | Channel | BW(MHz) | RB Size | RB Offset | Mod | SCS(kHz) | Ant | Fundamental Freq.(MHz)
n79 | [6 empty] | 30
SA TRAFFIC MODE |  |  |  |  | SA TRAFFIC TEST RESULT
30M-1G |  |  |  |  | 30M-1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -36 | No Peak Found | RMS | Pass | -
H
1 - 6G |  |  |  |  | 1 - 6G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -30 | No Peak Found | RMS | Pass | -
H
6 - 18G - 2nd, 3rd, 4th, 5th |  |  |  |  | 6 - 18G - 2nd, 3rd, 4th, 5th | [7 empty] | Note
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note | 1. Sub6 NR Band : 79
2. SCS : 30 kHz
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic | 3. The test was performed the antenna.
|  |  |  | H | [8 empty] | 4. SA Mode Test.
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
0 |  |  |  | V | 0 | H | 0 | -30 | No Peak Found | RMS | Pass | Harmonic
H
SA IDLE MODE |  |  |  |  | SA IDLE TEST RESULT
30M - 1G |  |  |  |  | 30M - 1G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -57 | No Peak Found | RMS | Pass | -
H
1 - 18G |  |  |  |  | 1 - 18G
Freq.(MHz) | X | Y | Z | Pol. | Freq.(MHz) | Pol. | Level (dBm) | Limit (dBm) | Margin (dBm) | Detector | Result | Note
Spurious |  |  |  | V | Spurious | H | 0 | -47 | No Peak Found | RMS | Pass | -
H